## Sheet1
[Contact PI] | Instructions: Please complete the table for your proposed biomarker(s) and assays used for measurement. See column B for an example on how to complete the table. Provide details only for sections relevent to the stage of development of your proposal and adjust the table as needed for the proposed modality/assay. Please fill out an additional form(s) if you have more than 3 biomarkers. Save this report card as a PDF and compile into the appropriate section within the Body of the Application. Please ensure that all cells of the table are legible and none of the columns are cuts off.
General Information | Biomarker 1 | Biomarker 2 | Biomarker 3
Analyte name | [specific chemical entity]
Analyte characterization (chemical ID/stucture) | [e.g. specific amino acid sequence (if known) / molecular weight (range)]
Analyte source | [manufacurer (catalogue number)]
Analyte purity (how determined) | [% (Amino acid sequence; Mass spectrometry)]
Identify critical reagents (Provide source) | [Capture antibody; Detection antibody (Manufacturer/cat. #)]
Proposed modality/specimen | [e.g.. CSF]
Assay methodology | [e.g. ELISA]
Instrument used | [e.g. Enspire plate reader]
Assay readout | [e.g. chemiluminescence]
Pre-analytical Information
Sample storage stability | [e.g. up to 1 year at -80 C]
Sample handling stability | [Freeze thaw stability (# of cycles);Bench top & refrigeration stability (duration)]
Extraction procedure necessary? | Yes/No
Internal standard required (Identity) | Yes/No (specific chemical, isotope)
Recovery (if extraction involved) | %
Sample volume required | [e.g. 2mL CSF collected]
Interfering substances/conditions? | [e.g. hemolysis]
Analytical Information
Dynamic range (Lower & Upper Limits of Quantification) | pg/ml
Sensitivity (How defined) | pg/ml (e.g. 2 X background signal)
Precision (intra-assay %CV) | %
Precision (inter-assay %CV) | %
Mid-point | pg/ml
Specificity (Cross Reactivity) | [e.g. keratin, IGg (interference from structurally similar substances)]
Selectivity | [Interferences from hemoloysis, icterus, lipidemia & other conditions]
Quality Control processes | Yes (Run rejection criteria)
External Proficiency (Alternatives) | No (Multilaboratory Round Robin comparisons)
Normal range for healthy adult (if known) | pg/ml